## Slide 1: Town Center Energy Resilience
Preparing for the future as the climate changes

## Slide 2: Addressing climate change
Mitigation: energy efficiency, electrification, greening and strengthening the electricity grid
Adaptation: includes community resilience in the face of increasing hazards from extreme weather
Continuity of critical town services is critical for community resilience

## Slide 3: ETIPP: Energy Transition Initiative Partnership Program
In June 2022, Chilmark and Aquinnah were accepted into the program
Not a grant: we are doing joint work with Lawrence Berkeley National Laboratory
Focus of work is the application of microgrids* to increase the energy resilience of town buildings
Goal is to understand the cost and benefit of this approach for the town centers of each community (scoping study)
Work to be competed mid-2024
* Microgrids are proven technology and have been deployed for a decade or more for resilience improvements at various scales – campus to neighborhood

## Slide 4: Town Center Buildings

## Slide 5: Town Center Microgrid
Shared Generator
Fire House
EMS Bldg.
Town Hall
Firehouse Array
EMS Array
Town Hall Array
Battery
Controller
G R I D

## Slide 6: Analysis / Simulation
Building models
  Monthly energy use
  Peak electricity loads by day of year
  How much solar PV can we install?
Other simulation tools
  Solar PV potential output
  Capital cost estimates (based on level of resilience desired)
  Operating costs (including electricity savings from solar)

## Slide 7: Building model example
Available images of the actual building
Net conditioned building area: 466 m² (5015.98 sq ft)
Fire Station

## Slide 8: Example Results – Energy Consumption
Annual electricity consumption: 39723.12 kWh (85.2 kWh/m²)
Fire Station
Monthly electricity consumption
Annual electricity consumption: 39723.12 kWh (85.2 kWh/m²)

## Slide 9: Example Results – Peak Power
Fire Station

## Slide 10
Solar for all / selected buildings
  Lower electricity costs
Solar + battery for all / selected buildings
  Lower electricity cost
  Added resilience for lengthy outages
  Financial benefit from Connected Solutions
  Added local grid resilience
Full microgrid
  Benefits of Option 2, plus:
  Shared energy resources across buildings (larger battery + single generator)
  Dynamic control / resource allocation
Options Moving Forward
Projects could be phased…

## Slide 11: Key Considerations
How much resilience do we want?
  1 - 4 hours?
  1 - 4 days?
  1 week + ?
Ownership and management model
  Town ownership and management
    Lowest utility bills (+)
    Bonding may be required (-)
    Management and maintenance costs (-)
  Developer leaseback and management
    Smaller utility cost benefit (-)
    Low capital investment (+)
    Dependence on developer for maintenance (-/+)